## Demand_Profile_Peak_Days_per_Season
	Load Value for Timeslices in MWh	Source	Annual Growth Rate (Based on STEG)				Load Value for Timeslices in MWh	Source	Annual Growth Rate (Based on STEG)
2010	203536	GIZ	4.23%			2010	597856	GIZ	4.23%
2015	250335	STEG (2015)	5.00%			2015	735321	STEG (2015)	5.00%
2020	319498	Own Assumption	5.00%			2020	938477	Own Assumption	5.00%
2025	407769	Own Assumption	5.00%			2025	1197760	Own Assumption	5.00%
2030	520429	Own Assumption	2.75%			2030	1528679	Own Assumption	2.75%
2035	596033	Own Assumption	2.75%			2035	1750756	Own Assumption	2.75%
2040	682621	Own Assumption				2040	2005094	Own Assumption

	Amount of Load in TS to annual load						Amount of Load in TS to annual load
	0.01375543						0.04040447

	Annual Load 2010 in MWh						Annual Load 2010 in MWh
	14796779						14796779

## Annual_Demand_Change
Year	Annual Power Demand in GWh	Peak Load (Mid-Day) in MW	Peak Load (Evening) in MW	Minimum Load in MW	Annual Growth Rate		10-yr change in Annual Power Demand
2016	19950	3770	3550	1174	4.20%		1.3120748299				STEG (2010)
2020	23520	4470	4310	1370	2.75%
2030	30860	5690	5610	1740	2.75%		10-yr change in Peak Load	10-yr change in Evening Peak	10-yr change in Minimum Load
2040	40491	7243	7302	2210	2.75%		1.2729306488	1.3016241299	1.2700729927
2050	53127	9220	9505	2807

					Peak Load	Annual Power Demand
2013	17087		3144	STEG (2015), pp. 19 & 24	10.21%	3.42%
2014	17671		3465		3.87%	2.99%
2015	18199		3599

2014	15500			ANME (2015). PST, p. 9		4.94%
2020	20700					5.06%
2025	26500					4.99%
2030	33800					5.00%	Own Assumption
2035	43138					5.00%
2040	55057

2015	18199			Assumed		5.00%
2020	23227					5.00%
2025	29644					5.00%
2030	37834					2.75%
2035	43331					2.75%
2040	49626